HLG-24 Heating and cooling water bath

1、Application

HLG Series Heating and cooling thermostatic water bath with the function of heating and cooling, built-in circulating pump for internal circulation of the liquid in the tank, so the uniformity is high, up to ± 0.1 ℃, widely used in medical and health care, colleges and universities, scientific research units and industrial and mining enterprises, etc. to do evaporation, drying, concentration, thermostatic heating of chemical, serological examination, thermostatic cultivation of biological products, sterilization and boiling.

2、Features

- LED display, waterproof and oil-proof operation panel, four-heat design, heating, cooling, cycle indicator display

- Large opening for more samples for thermoregulation.

- Heating and cooling function, heating and cooling are integrated in one unit

- High-quality stainless steel in contact with liquids.

- With internal circulation function, good temperature uniformity, internal circulation can be controlled

- Standard with sample holder, height 50mm.

- High-temperature alarm and dry-burn protection

- Technical Parameters

| Model | HLG-24 |
| --- | --- |
| Item No. | 1037007001 |
| Temperature range (℃) | -5~100 |
| Temperature stability (℃) | ±0.05 |
| Temperature uniformity (℃) | ±0.02 |
| Cooling power（w） | 750(20℃) |
| Heating power (w) | 2000 |
| Pump flow rate (L/min) | 12 |
| Pump pressure(bar) | 0.8 |
| Alarm function | YES |
| Bath volume( L) | 24 |
| Bath size (mm) | 400*400*150 |
| Overall dimensions (mm) | 640*440*355 |
| Packing size (mm) | 800*590*355 |
| Net weight (kg) | 44 |
| Gross weight(kg) | 45 |

- Packing List

| No | Name | Qty |
| --- | --- | --- |
| 1 | Water bath | 1pcs |
| 2 | Support | 1pcs |
| 3 | Bath cover | 1pcs |
| 4 | Manual | 1set |