# HLC-227E High Temperature Circulator

1、Application

- Provides a stable heat source for the system

- Stable heating up to 150℃;

- Temperature control for analytical instruments such as viscometer external circulation, rheometers, etc.；

- Temperature control and circulation of external open vessels.

2、Features

- Multi-safety protection: low level protection, adjustable over-protection, alarm can be alerted by light and sound at the same time;

- Maintenance-free pressure/suction pump, pump pressure and flow rate automatically adapt to external load;

- Equipped with external temperature sensor, can control the temperature of external materials (standard type);

- Internal parts made of high-performance stainless steel and high-performance plastics;

- A variety of operating modes can be selected, accidental power failure can be automatically restored;

3、Technical Parameters

| Model | HLC-227E |
| --- | --- |
| Item No | 1032087001 |
| Water Max Capacity(L) | 27 |
| Temp range（℃） | RT+10~100 |
| Temp accuracy（℃） | ±0.05 |
| Setting accuracy（℃） | ±0.1 |
| Display accuracy（℃） | ±0.1 |
| Circulation mode | Internal and external circulation |
| Display temp mode | LED |
| Setting mode | Membrane keyboard |
| Safety protection | Low level protection, high temperature protection |
| Heating power（W） | 2000 |
| Ambient temperature（℃） | 5~32 |
| Power supply voltage (V) | 200~230 |
| Flow rate (L/min) | 27 |
| Pump pressure (bar) | 0.3 |
| Pump suction(bar) | 0.2 |
| Head(M)(max/rated) | 2.0/1.0 |
| Circulation interface | 10mm Pagoda Fitting |
| Water tank dimension（mm)(WxDxH) | 295*295*200 |
| Exterior Dimension（mm)(WxDxH) | 335*540*450 |
| Packing Dimension（mm)(WxDxH) | 410*610*520 |
| NW（kg） | 16 |
| GW（kg） | 19 |

4、Packing List

| Name | QTY |
| --- | --- |
| Host | 1 Piece |
| DN8 connector | 2 Pieces |
| M16*1 nut | 2 Pieces |
| 8*12 heat preservation pipe | 1.8m*2 piece |
| Certificate of conformity (with warranty card) | 1piece |
| Manual | 1piece |