HLL-0520 Flow-through cooler

1、Application

Flow-through coolers can be connected to any heated thermostatic circulator (high temperature thermostat) HLC series HLN series. Upgrading it to a thermostatic circulator with cooling capability enables temperature control at or below ambient temperature. Provides a stable flow rate and cooling temperature independent of external influences.

2、Features

1、Using air-cooled heat dissipation, the bath is fully enclosed, maintenance-free refrigeration equipment;

2、The enclosed bath is made of high quality stainless steel, corrosion-resistant and with long service life;

3, low noise, small size, does not occupy space.

- Technical Parameters

| Model | HLL-0520 |
| --- | --- |
| Item No. | 1040004001 |
| Temperature range ℃ | -5~40 |
| Temperature uniformity ℃ | ±2 |
| Refrigeration powerw | 200(20℃) |
| Alarm function | yes |
| Water tank volume L | 3 |
| Overall dimensions mm | 200*340*300 |
| Packing size mm | 250*390*350 |
| Net weight kg | 26 |
| Gross weight kg | 28 |