HLL-4015 Flow-through coolers

1、Application

Flow-through coolers can be connected to any heated thermostatic circulator (high temperature thermostat) HLC series HLN series. Upgrading it to a thermostatic circulator with cooling capability enables temperature control at or below ambient temperature. Provides a stable flow rate and cooling temperature independent of external influences.

2、Features

1、Using air-cooled heat dissipation, the bath is fully enclosed, maintenance-free refrigeration equipment;

2、The enclosed bath is made of high quality stainless steel, corrosion-resistant and with long service life;

3, low noise, small size, does not occupy space.

- Technical Parameters

| Model | HLL-4015 |
| --- | --- |
| Temperature range ℃ | -40~RT |
| Temperature uniformity ℃ | ±0.5 |
| Cooling capacity w | 1500(20℃) |
| Alarm function | Yes |
| Bath volume L | 3 |
| Connector size mm | Stainless Steel Pagoda Fitting 10 |
| Overall dimension mm | 200*500*620 |