HLL-4080 Flow-through coolers

1、Application

Flow-through coolers can be connected to any heated thermostatic circulator (high temperature thermostat) HLC series HLN series. Upgrading it to a thermostatic circulator with cooling capability enables temperature control at or below ambient temperature. Provides a stable flow rate and cooling temperature independent of external influences.

2、Features

1、Using air-cooled heat dissipation, the bath is fully enclosed, maintenance-free refrigeration equipment;

2、The enclosed bath is made of high quality stainless steel, corrosion-resistant and with long service life;

3, low noise, small size, does not occupy space.

- Technical Parameters

| Model | HLL-4080 |
| --- | --- |
| Temperature range ℃ | -40~150 |
| Temperature uniformity ℃ | ±0.5 |
| Cooling capacity w | 800(20℃) |
| Alarm function | Yes |
| Water tank volume L | 5 |
| Overall dimensions mm | 220*420*495 |
| Packing size mm | 500*290*560 |
| Net weight kg | 28 |
| Gross weight kg | 30 |