# HLC-3027SM High and Low Temperature thermostat

1、Application

HLC SM series vertical high and low temperature constant temperature bath is widely used in biology, chemical industry, chemistry, pharmacy, life science, physical properties testing and other industries of higher education, enterprise quality inspection and so on. For the user experiment and production to provide a heat and cold controlled, uniform and constant temperature field source, the test samples or production of products for constant temperature test or test, can also be used as a direct heating or refrigeration and auxiliary heating or refrigeration of the heat or cold source.

2、Product Features

l  Maintenance-free pressure/suction pump, resistant to fibers and metal particulate matter, simultaneously agitates the bath both horizontally and vertically for more uniform mixing;

l  Multi-safety protection: low liquid level protection, can be alarmed with both light and sound alerts;

l  High performance stainless steel and high performance plastics are used for parts in contact with liquid or vapor;

l  Pt100 temperature sensor for single and two-point temperature calibration;

l  Can be internal circulation ,which comes standard with two different heights of cup holders for thermoregulation and viscosity testing of different cups inside the bath;

l  Can be external circulation for thermoregulation of the water bath jacket of the viscometer, suitable for viscosity testing of samples in a water bath jacket outside the bath;

l  The buzzer can be set to silent or audible.

l  LED Screen

3、Technical Parameters

| Product Model | HLC-3027SM |
| --- | --- |
| Product No. | 1032067001 |
| Tank volume(L) | 27 |
| Temperature range (℃) | -30~150 |
| Temperature control fluctuation value (℃) | ±0.03 |
| Setting accuracy (℃) | ±0.1 |
| Display precision (℃) | ±0.1 |
| High temperature direct drop | / |
| Circulation mode | Internal and external circulation |
| Use of ambient temperature (℃) | 5~32 |
| Power supply voltage (V) | 200~230 |
| Display temperature mode | LED |
| Setting mode | Membrane keypad |
| Safety protection | Low level protection, high temperature protection |
| Heating power (W) | 2000 |
| Cooling power(W) | 900 |
| Refrigerant | R134a |
| Water pump flow (L/min) max/rated | 22/15 |
| Lift(M)(Max/Rated) | 2.0/1.0 |
| Circulation interface | 10mm Pagoda Fitting |
| Tank opening(mm)(WxDxH) | 295*297*200 |
| Overall Dimension(mm)(WxDxH) | 350*570*778 |

4、Packing List

| Name | Quantity |
| --- | --- |
| Main unit | 1 unit |
| DN8 connector | 2pcs |
| M16*1 nut | 2pcs |
| 8*12 heat preservation pipe | 1.8m*2pcs |
| Certificate of Conformity (with warranty card) | 1 copy |
| Instruction manual | 1 copy |