HR-1LAS Laboratory vacuum emulsification reactor

Application：

● Laboratory vacuum emulsification reactor: Under the environment of vacuum or pressure, to achieve the material dispersion, emulsification, homogenization, mixing and other processes.It can be equipped with a variety of high viscosity agitators, high shear homogenizer or emulsifiers and reliable vacuum sealing systems and temperature control systems. A variety of sensing and testing systems can simulate industrial  production in the laboratory.

● Main Applications:

- Production of cream, lotion and emulsions

- Pharmaceuticals and cosmetics

- Disperse fine solids into liquids or dissolve them

- Suspend additives and solid polymer in mineral oil

- Wet grinding in fluids and polymers, dispersing solids, fibers, high-viscosity substances, cell tissues, etc.

- Handling daily necessities and food

- Polymerization

- Extracting Enzymes in the Body

- Others

Main Features：

- The homogeniser and Mixer are adopt with brushless motors to provide a brushless working scenario and prevent carbon powder from contaminating the samples;

- User-friendly design:

- One-key electric lift reactor lid; electric lift with anti-pinch function;

- The reactor lid is supported by two springs and has a cushion function to prevent it from being damaged;

- The kettle body can be turned over, conveniently for dumping materials;

- The kettle body is equipped with a turnover hot and cold water pipe interface, which is convenient for dumping samples;

- The kettle cover has a screw fixing slot, which is convenient for fixing;

- The cover screws are equipped with anti-collision devices to prevent the kettle from being knocked;

- Homogenizer working head with safety protection buckle to prevent bumping the kettle;

- Different types of mixers can be selected according to the viscosity and volume of the sample.

- SS304 base plate and support rod,easy for cleaning;

- Can be connected to HUXI online emulsification for multi-machine emulsification, to improve efficiency and effect;

- The stirring bar is connected with the kettle body by anchor claw, which greatly improves the stirring jitter and noise;

- Anchor type PTFE wall scraping stirring paddle to prevent the sample from sticking to the wall and clumping;

- External cooling water circulation refrigeration can be connected to control the sample temperature.

Techncial Parameters：

| Model | HR-1LAS |
| --- | --- |
| Item No. | 1018022001 |
| Power Supply | 220V 50/60HZ |
| Stirring Volume(ml) | 300-1000 |
| Emulsification Volume(ml) | 300-1000 |
| Operating Temperature(℃) | -20~120℃ |
| Accessible Vacuum(mpa) | -0.096mpa |
| Viscosity(cp) | 70000cp |
| Stirring Speed Range(rpm) | 0-360rpm |
| Stirring Paddle Configuration | Stainless Steel Anchor Screw with Wall Scraping Agitator Paddle |
| Scraper material | Standard PTFE, optional silicone rubber |
| Homogenizer Motor Type | Brushless motor, Continuous work |
| Homogenizer Motor Power(w) | 1050W |
| Homogenizer Speed Display | Digital |
| Homogenizer Speed Range(rpm) | 4000-26000rpm |
| Homonigezer Working Head Configuration | 25DG |
| Reaction Kettle Lid Material | SS316 |
| Reactor Kettle Lid Opening | Homogenizer port + hopper port + temperature measuring port + vacuum port +3 spare ports |
| Reactor Lid Lifting Mode and Stroke | Electric lift, stroke 660mm |
| Sample Touch Material | SS316L, borosilicate glass, FKM10, PTFE |
| Vacuum Port Outer Diameter(mm) | 10mm |
| Glass Kettle Jacket Inlet and Outlet Outer Diameter (mm) | 12mm |
| Ambient Temperature(°C) | 5-40 |
| Relative Humidity(%) | 80 |
| External Dimension(mm) | 480*400*840（长*宽*高） |
| Standard weight(kg) | 48 |

Packing List：

| Configuration | Item | Quantity |
| --- | --- | --- |
| Standard | Kettle host (electric lifting bracket, 1L high borosilicate glass kettle body, SS316 kettle cover) | 1set |
|  | HR-25D Homogenizer | 1pcs |
|  | RWD50 Overhead Stirrer | 1pcs |
|  | Working head（25DG） | 1pcs |
|  | Power Line | 1pcs |
|  | Instruction manual & certificate & warranty card | 1pcs |
| Optional | AS Series Stirrer | 1pcs |
|  | AS Series Homogenizer | 1pc |
|  | Pirani vacuum gauge | 1set |
|  | Thermostatic Bath | 1pcs |
|  | Vacuum Pump | 1pcs |