HX-MINI300E Mini Ultrasonic Homogenizer

Application：

● MiNi ultrasonic breaker HX-MiNi300 is a sample pretreatment instrument with integrated structure design and the use of ultrasonic waves to produce cavitation effect in liquid, which is mainly suitable for the dispersion of nanomaterials, cell wall breaking extraction and crushing, homogenization and mixing, chemical synthesis, oil-water emulsification, etc.

Main Features：

● It is suitable for dispersion of nanomaterials, cell wall-breaking extraction and pulverization, homogenization and mixing, chemical synthesis, oil-water emulsification, etc.

● A variety of horn specifications are available, with a wide processing range, up to 300ml. The hornis made of titanium alloy material, which has high strength, strong corrosion resistance, high heat resistance and long service life

● Frequency tracking and amplitude compensation adopt automatic mode, with stable load and high electro-acoustic conversion rate

● It can be hand-held or can be fixed with an optional bracket. It can be used in a variety of ways, especially for the ultrasonic treatment of trace or small amount of samples.

Techncial Parameters：

| Model | HX-MINI300E |
| --- | --- |
| Item No | 1008047003 |
| Power | 10-300W(Manual analogue adjustable) |
| Capacity | 0.1～300ml |
| Ultrasonic control method | manual key |
| Single ultrasonic time | ＜40min |
| Operation mode | continuous |
| Frequency | 30KHz |
| Standard Horn | Φ6mm |
| Optional Horn | Φ2、6、8 |
| Horn Material | TC4 Titanium alloy |
| Input Voltage | 100-230V/AC or 12-24V/DC |
| Optional Features | Fixed bracket |
| Voice alarm and alert function | Protection occurs, power cord flashes |
| Shell Material | ABS |
| Instrument Size(L*W*H） | 300*φ43 |
| Package Size(L*W*H） | 338*288*110 |
| NW | 0.5 |
| GW | 1 |

Accessories：

| Item No. | Horn | Capacity ml | Nominal power |
| --- | --- | --- | --- |
| 20080073 | Φ2 | 0.1~5 | 150 |
| 20080072 | Φ6 | 5~100 | 250 |
| 20080074 | Φ8 | 30~300 | 300 |

Packing List：

| Name | Quantity |
| --- | --- |
| Host | 1pcs |
| Power | 1pcs |
| User Manual | 1pcs |
| Certificate of Conformity & Warranty Card | 1pcs |
| Horn（6mm） | 1pcs |
| No. 14 open-end spanner | 1pcs |
| No. 19 open-end spanner | 1pcs |